Green Communities Carbon Neutral Framework

Option 1: Project Profile

Energy Efficient Building Retrofits and Fuel Switching

Project Profile Overview

This document provides guidance on estimating the emission reductions potential associated with increasing the energy efficiency of existing building envelopes and the technologies used for space heating/cooling and hot water, as well as for switching building systems to allow the use of lower carbon fuels. One of the greatest opportunities within communities for reducing greenhouse gas (GHG) emissions is the existing building stock. This project involves retrofitting non-government owned buildings in the community or local government owned / operated buildings that are outside the boundaries of “traditional local government services” (such as social housing).

There is a broad array of retrofit options available to building owners that can result in reductions of GHG emissions. The retrofit options include measures that (1) increase the efficiency of building shells through better insulation and windows, (2) increase the efficiency of building equipment (e.g., furnaces, air conditioners, boilers, district energy, hot water heaters, reduced hot water flow),  (3) cause fuel switching from a high carbon energy source (e.g., light fuel oil) to a low carbon energy source (e.g., electricity, solar), and (4) recover heat generated that would otherwise be “dumped” into the environment and not reused (waste heat).

All retrofit measures that result in GHG emission reductions using the guidance below are included in this project type. Lighting and other non-heating / cooling retrofit projects are not covered by this project description because of challenges developing a simplified calculation.

Calculating Emission Reductions

In order to meet the heating, cooling and hot water needs of a building, energy (e.g., natural gas, propane, wood, fuel oil, and electricity) is used to achieve a desired room or water temperature. The emissions from these sources (Baseline Emissions) depend on the type of energy used, the efficiency of the furnace, heater or air conditioner, and the efficiency of the building envelope or water system. A project addressing any of these factors can improve the GHG performance of an existing building. The equation for estimating emission reductions is as follows:

Annual Net Emission Reductions = Annual Baseline Emissions – Annual Project Emissions

This summary provides a high-level outline of the most important variables involved in determining emission reductions from a project compared to a baseline situation. Successful projects will require complete information and clear documentation of calculations that conform to the Carbon Neutral Framework’s Methodology Standards and Reporting Requirements.

There are multiple accepted approaches for quantifying emission reductions among building energy efficiency carbon credit protocols. To simplify data provisions for building owners, a “whole facility” quantification approach is used for this project type. Under this approach energy use for the entire building is included in the baseline and project calculations utilizing conservative assumptions and methods for determining energy use and calculating energy reductions. The accounting methodologies used here were designed with the data that building managers have available to them in mind. Calculating energy use and GHG reduction is based on utility data.

Project Example

The spreadsheet demonstrates the following example.

A local government decides to retrofit 25 households within the community. The retrofits include replacing oil furnaces with air source heat pumps and sealing all gaps and cracks with new weather stripping.

| Task |  | Input/Output |
| --- | --- | --- |
| Step 1: Enter dates |  |  |
| Enter the dates for the baseline and project years. |  | In the example, the baseline years are 2011 to 2013, and the project year is 2014. |
| Step 2: Calculate baseline consumption |  |  |
| Enter the baseline energy consumption from the last three years of utility bills (electric, natural gas, wood, heating oil and propane). Total electricity (kWh), heating oil (GJ), natural gas (GJ), wood (GJ) and propane (GJ) consumption are entered for each year to establish a three-year average. | In this example, the average annual electricity consumption over three years for the 25 households used for appliances, lighting, and hot water heating totalled 280,000 kWh. The average annual heating oil consumption for space heating in the 25 households over the same three years totalled 1,900 GJ. |  |
| Step 3: Calculate project consumption |  |  |
| Enter the energy consumption for the project year from utility bills. In this example the oil furnaces are replaced with air source heat pumps so there is only an electricity bill. | Total electricity use goes up in the project year to 320,000 kWh due to the new air source heat pumps. |  |
| Step 4: Estimate energy use for heating and cooling |  |  |
| Estimate the share of electricity consumed for space heating and cooling. This step is required to determine what portion of an electricity bill is due to space heating and cooling | In this example, electricity was not used for space heating in the baseline. However, the air source heat pumps use electricity in the project year. The amount of electricity used by the air sourced heat pumps is estimated to be 106,656 kWh, or 33.33% of total electricity use in the project year. The total electricity used by the heat pumps was determined by using manufacturers’ specifications that are provided with the product. |  |
| Step 5: Enter heating degree days |  |  |
| Enter the average annual and 30-year average heating degree days to calculate the “weather-adjusted” energy consumptions. This step is needed to correct for annual average temperatures that are colder or warmer than average. Heating degree days are used to estimate how cold it was for the project and baseline period and how much energy may be needed to keep buildings warm. | In this example, the baseline years were slightly warmer than the project years |  |
| Step 6: Calculate emission reductions |  |  |
| The spreadsheet does the calculations to estimate the total annual net emission reductions. | In this example, the net annual emission reductions from all 25 households are 131.0 tonnes. |  |

Project Calculation Guidance

| Information Requirements & Sources | Energy usage for each energy type (electricity, natural gas, wood, heating oil, propane) for one year - Source: Utility and purchasing data Number of heating-degree-days for the calendar year - Source: Government of Canada weather service; http://www.degreedays.net - Climate normals 30-year average heating-degree days - Source: Environment Canada; http://www.climate.weatheroffice.gc.ca/climate_normals/index_e.html Emission factor for each energy type - Source: Climate Action Secretariat, Ministry of Environment (2017), 2017 BC Best Practices Methodology for Quantifying Greenhouse Gas Emissions: https://www2.gov.bc.ca/assets/gov/environment/climate-change/cng/methodology/2017-pso-methodology.pdf Adjustment Factors - Source: Quantification Protocol for Energy Efficiency Projects, Government of Alberta, June 2018: https://open.alberta.ca/publications/9781460137932 |
| --- | --- |
| Calculations | The energy calculations for the project and baseline years will need to be adjusted to account for potential differences in weather and building uses between years. Weather Correction Total energy consumption x ((1-heating dependent share of energy) + (heating dependent share x 30-year average heating-degree days /heating degree days in project or baseline year(s))) = weather adjusted energy consumption After annual energy use is estimated, annual GHG emissions can be calculated: CO2e = Total annual energy use x emission factor |
| Notes | Total baseline emissions should be calculated based on one calendar year of activity |

Note on Energy Audit GHG Quantification: Alternate methodologies that rely on pre and post-project energy audits could also be used to quantify energy and GHG emission reductions. The set of assumptions used by energy auditing companies to forecast post retrofit energy usage would need to be specified and standardized for different building typologies.

Carbon Neutral Framework Compliance

The following checklist outlines seven Project Eligibility Requirements under the Carbon Neutral Framework. Option 1—GCC Supported Projects — are already considered to meet project eligibility requirements three and four below. To demonstrate how an Option 1 project meets the five remaining eligibility requirements, simply complete and make public an Option 1 Project Plan Template (see Appendix 6).

For more information on the project eligibility requirements please refer to section 2.1.1 and Appendix 1 of the Becoming Carbon Neutral guidebook.

Checklist:

- Emission reductions are outside of the local government corporate emissions boundary

- Emission reductions have occurred before they are counted

- Emission reductions are credibly measured

- Emissions reductions are beyond business as usual

- Accounting of emission reductions is transparent

- Emission reductions are only counted once

- Project proponents have clear ownership of all emission reductions

Local Applicability and Cost Factors

Building Ownership, Control and Data

The biggest factor in determining whether a local government will be able to successfully implement an energy efficiency retrofit program in their community and receive carbon reduction credits under the Carbon Neutral Framework will be its ability to establish a mechanism through which it facilitates or oversees the retrofit program, is able to establish ownership of the emission reductions, and collects the necessary data for establishing baseline energy use and measuring / reporting / estimating post-project reductions. This mechanism could take a number of different forms, including retrofit program organizer, provision of a financial subsidy to assist residents (or a sub-section, such as low-income households) to conduct retrofits, or the creation of a website to chart collective community emission reductions or emission reductions by neighbourhood.

If a local government exerts operational or financial control over social housing buildings, this presents a clear opportunity for undertaking a retrofit project within this Carbon Neutral Framework because the project facilitation and data collection barriers mentioned above can be avoided.

Community and Sustainability Co-Benefits

Building energy retrofit projects have a number of significant community co-benefits. These include energy cost savings that begin to accrue as soon as the retrofit is completed; the stimulation of the local economy through the creation of demand for new types of expertise, services and products; educating residents and businesses about the benefits of energy efficiency and reduction; improved quality of indoor environments through better heating / cooling; and reduction in vulnerability to rising energy costs and future heating/cooling requirements resulting from local impacts from the changing climate.

Precedents

Currently in Canada, most building energy efficient retrofit programs are administered by federal and provincial agencies and energy utilities, with local governments mainly assisting in the dissemination of information through their websites. There are a few examples of local governments playing a more direct role in retrofit programs within BC and Canada.

- The City of Nelson’s EcoSave Program, that offers discounted energy assessments and loan services for eligible energy efficiency upgrades that are repaid by Nelson Hydro customers on their electric bill (on-bill financing).

- http://www.nelson.ca/222/EcoSave-Program

- The City of Penticton’s Home Energy Loan Program (HELP), is a loan service available for eligible energy efficiency upgrades. Loans are to be repaid over 10 years users monthly electric utility bills.

- https://www.penticton.ca/EN/main/departments/electricity/energy-retrofits.html

- The Better Buildings Partnership (BBP) was created by the City of Toronto’s Energy Efficiency Office to provide resources including financial assistance for both energy efficient retrofits and new construction. BBP is currently partnered with the Ontario Power Authority to deliver attractive energy savings incentives for multiple building types. http://bbptoronto.ca/

Resources

Quantification Protocols and Methods

- Quantification Protocol for Energy Efficiency Projects, Government of Alberta, June 2018:

- https://open.alberta.ca/publications/9781460137932#summary

- Efficiency Valuation Organization (2012). International Performance Measurement and Verification Protocol. Concepts and Practices for Determining Energy and Water Savings. Volume 1. EVO 10000 – 1:2012:

- http://www.eeperformance.org/uploads/8/6/5/0/8650231/ipmvp_volume_i__2012.pdf

- Energy efficiency and fuel switching measures for buildings --- Version 11, CDM-UNFCCC: http://cdm.unfccc.int/methodologies/DB/P4PO65N66CEQGPE2RJU15FIVB7AX4A

- Climate Action Secretariat, Ministry of Environment (2017), 2017 BC Best Practices Methodology for Quantifying Greenhouse Gas Emissions: https://www2.gov.bc.ca/assets/gov/environment/climate-change/cng/methodology/2017-pso-methodology.pdf

Grants, Rebates and Information on Existing Programs

- EfficiencyBC: https://efficiencybc.ca/

- FortisBC Gas Energy Efficiency Programs:

  - For homes & businesses: https://www.fortisbc.com/Rebates/RebatesOffers/Pages/default.aspx

This approach is based on a synthesis of guidance provided by: Government of Alberta (2018). Quantification protocol for energy efficiency projects. Version 2.0. June 2018.

Note: This document is updated annually.